## Annexure 1 NIT
Annexure - 1
FINANCIAL BID FORM FOR
PROCUREMENT OF FURNITURE, FIXTURES AND OTHER REQUIREMENTS
# | Particular with specification | Total Qty. in Nos. | Rate per unit | Total Cost
1 | Fire Extinguishers
| [Co2] Type Fire Extinguisher. Supply, Installation and Commissioning of BIS approved and marked to IS : 15683 - 2006 Class 13B:C CO2 Type Fire Extinguishers of 4.5 kg capacity. The Cylinder is marked To IS:7285 and Brass Forge confirming to IS:3224. The Extinguishers are Hydraulic Pressure tested to 250 kgf/cm2, and Co2 gas Confirming to IS:15222 ,painted to synthetic Enamel red / Fire red paint. For Fire Class = B,C Used in = Gas / Oil, Current / Current Fire. Electric Appliances/Antiques/Chemicals | 3
| [ABC Stored Pressure]Type Fire Extinguisher. Supply, Installation and Commissioning of BIS approved and marked to IS : 15683 - 2006 ,Class 1A and 13B C, ABC Stored Pressure Multipurpose Type Fire Extinguisher of 9.0 kg capacity. Complete with hanging bracket, Discharge hose, pressure gauge. Suitable for A, B and C Class of Fires. For Fire Class = A,B,C Used in =Wood/Paper, Gas/Oils/Fats/Liquids,Current/Current Fire. | 8
| [AFFF Mechanical Foam] Type Fire Extinguisher. Supply, Installation and Commissioning of BIS approved and marked to IS : 15683 - 2006, Class 3A and 34B, AFFF Mechanical Foam Type Fire Extinguisher of 9.0 liters capacity. Complete with hanging bracket, Discharge hose, Suitable for A, B Class of Fires. For Fire Class = A,B Used in =Paint Shop/Oil Fired Boiler Rooms/Flammable Liquids Storages and Yards. | 3
2 | Cafeteria Chairs Specifications - Molded Plastic (Stainless Steel frame + molded plastic cover) type chairs Colour - Multi, (as approves by the committee) Size - Dim.: 485W x587D x 805H as specs in Neelkamal / Cello / Zuari / or any other equivalent. | 80
3 | Cafeteria Table Specifications - Molded plastic or equivalent top with Stainless Steel legs type detachable square table Colour - Multi, (as approves by the committee) Size - Dim.: 715W x720D x 722H as specs in Neelkamal / Cello / Zuari / or any other equivalent. | 15
4 | Bunker Beds Specifications - 3" X 6" = 3" X 6", Folding from center, 12mm ISI ply board on both beds, 05 nos steel base for ply support in both beds, frame 42° d pipe (1½ inch.) Coil ISI mark (9kg), supprot 2"x1" pipe, staircase 19° d pipe (¼ inch.), with Metel Primer of Asian paint and required colour of Asian paint or equivalent. | 28
5 | Foam Mattress - Specifications - Size 3" x 6" , 40 density Foam, Thickness 4", with standard cover along with removable designed cloth cover (with chain). Make - Logic / Fair / Reliance or eqivalent brand. | 98
6 | Kitchen Chimney - Specifications - Size 60/90, Air Flow 1250 and above, Motor Power 260 & above, Light 40w x 2, Hosing - FRP / PDCA (pressure die casted aluminium), Static Pressure - 470 & above, Control - PB (3 speed Push Button), Filter - BF (Stainless steel Baffle Filter) , TC/TS/EL - (3 speed with timer) Body - Stainless Steel. Complete installation with required 6" or 8" PVC suction pipe. Make - Sunflame / Glen / Kenstar / Faber or equivalent. | 3
| Total Cost |  |  | 0
The rates to be quoted shall be FOR CRISP without any transportation cost.
A | Details of taxes if any applicable,included in the rates,
B | Discount if any allowed on various items
C | Validity of the rates quoted herein
D | Delivery period for each item
E | Warranty / Guarantee period for each item shall be shown separtely.
Signature with seal.
Name of the Firm _______________________________________________________________________________
Address of the Firm ________________________________________________________________________________
______________________________________________________________________________________
______________________________________________________________________________________
______________________________________________________________________________________
Contact No. _____________________________________________________________________________